## FINALE RESULTS_C2_correct_here
C2 |  |  |  | Bio Replicate Number One for Caspase-2
Samples | BCA mean values/total protein (3 technical measuremets) | Fluorescence mean values (3 technical measurements) | Normalized to BCA |  | Normalized ot parDMSO to BCA |  | For the plot: |  |  | Mean all three bio replicates
KO ZM | 225.2434 | 3544.6667 | 15.7371 |  | 0.83438 | ZM | Casp2-/- ZM | 0.83438 | ZM | 1.0058 | 0.15071
Par. ZM | 240.1232 | 6898.6667 | 28.7297 |  | 1.5233 | ZM | par. ZM | 1.5233 | ZM | 1.4915 | 0.036503
KO S+W | 49.2852 | 23336 | 473.4886 |  | 25.1045 | STS+WEHI | Casp2-/- S+W | 25.1045 | STS+WEHI | 33.0721 | 10.1803
Par. S+W | 112.0939 | 44276.3333 | 394.9933 |  | 20.9426 | STS+WEHI | par. S+W | 20.9426 | STS+WEHI | 18.2875 | 2.3589
KO DMSO | 190.9257 | 3616.3333 | 18.941 |  | 1.0043 | DMSO | Casp2-/- DMSO | 1.0043 | DMSO | 0.90812 | 0.1397
Par. DMSO | 217.2239 | 4097 | 18.8607 |  | 1 | DMSO | par. DMSO | 1 | DMSO | 1 | 0
C2 |  |  |  | Bio Replicate Number Two for Caspase-2
KO ZM | 147.9465 | 1447 | 9.7806 |  | 1.1174 |  | For the plot:
Par. ZM | 123.3242 | 1567 | 12.7063 |  | 1.4516 | ZM | Casp2-/- ZM | 1.1174
KO S+W | 29.4715 | 11490.3333 | 389.8789 |  | 44.5409 | ZM | par. ZM | 1.4516
Par. S+W | 164.3613 | 25157.3333 | 153.0612 |  | 17.4862 | STS+WEHI | Casp2-/- S+W | 44.5409
KO DMSO | 141.0861 | 1200.6667 | 8.5102 |  | 0.97223 | STS+WEHI | par. S+W | 17.4862
Par. DMSO | 133.4739 | 1168.3333 | 8.7533 |  | 1 | DMSO | Casp2-/- DMSO | 0.97223
[6 empty] | DMSO | par. DMSO | 1
C2 |  |  |  | Bio Replicate Number Three for Caspase-2
KO ZM | 111.5143 | 1161.6667 | 10.4172 |  | 1.0658 |  | For the plot:
Par. ZM | 199.697 | 2927 | 14.6572 |  | 1.4996 | ZM | Casp2-/- ZM | 1.0658
KO S+W | 69.5218 | 20094 | 289.0315 |  | 29.5709 | ZM | par. ZM | 1.4996
Par. S+W | 270.948 | 43521 | 160.6249 |  | 16.4336 | STS+WEHI | Casp2-/- S+W | 29.5709
KO DMSO | 133.9281 | 979 | 7.3099 |  | 0.74788 | STS+WEHI | par. S+W | 16.4336
Par. DMSO | 209.9406 | 2052 | 9.7742 |  | 1 | DMSO | Casp2-/- DMSO | 0.74788
[6 empty] | DMSO | par. DMSO | 1

## FINALE RESULTS_C3_correct_here
C3 |  |  |  | Bio Replicate Number One for Caspase-3
Samples | BCA mean values/total protein (3 technical measuremets) | Fluorescence mean values (3 technical measurements) | Normalized to BCA |  | Normalized ot parDMSO to BCA
KO ZM | 190.0173 | 1265.3333 | 6.659 |  | 1.0316
Par. ZM | 229.7857 | 2144 | 9.3304 |  | 1.4454
KO S+W | 45.4008 | 32938 | 725.4935 |  | 112.3903
Par. S+W | 91.8259 | 43142 | 469.8236 |  | 72.783
KO DMSO | 197.1283 | 993.3333 | 5.039 |  | 0.78062
Par. DMSO | 201.5453 | 1301 | 6.4551 |  | 1
C3 |  |  |  | Bio Replicate Number Two for Caspase-3
KO ZM | 214.0913 | 1096 | 5.1193 |  | 0.76005
Par. ZM | 132.4871 | 955.6667 | 7.2133 |  | 1.0709
KO S+W | 47.4683 | 19541.3333 | 411.6709 |  | 61.1199
Par. S+W | 186.6184 | 40018.3333 | 214.4393 |  | 31.8374
KO DMSO | 178.458 | 1041.6667 | 5.837 |  | 0.86661
Par. DMSO | 155.1985 | 1045.3333 | 6.7355 |  | 1
C3 |  |  |  | Bio Replicate Number Three for Caspase-3
KO ZM | 186.0076 | 938.3333 | 5.0446 |  | 0.88744
Par. ZM | 178.1761 | 1558.6667 | 8.7479 |  | 1.5389
KO S+W | 100.5502 | 32137.6667 | 319.618 |  | 56.2266
Par. S+W | 242.1907 | 41339 | 170.6878 |  | 30.0271
KO DMSO | 241.9715 | 881 | 3.6409 |  | 0.64051
Par. DMSO | 233.7954 | 1329 | 5.6845 |  | 1

## Mean Value Finale Results C-3
|  | Mean Values of all Triplicates for C-3 | [5 empty] | First Bio replicate C-3 |  |  |  |  | Second Bio replicate C-3 |  |  |  | Third Bio Replicate C-3
BCA C-3 mean values of all triplicates | [5 empty] | BCA C-3 |  |  |  |  | BCA C-3 |  |  |  | BCA C-3
ugr totale | [5 empty] | ugr totale |  |  |  |  | ugr totale |  |  |  | ugr totale
181.6167 | Par. ZM |  |  |  |  | 205.8369 | Par DMSO 126 |  |  |  | 132.4871 | par ZM 237 |  |  | 178.1761 | par ZM 267
174.1585 | Par. S+W |  |  |  |  | 234.187 | Par ZM 126 |  |  |  | 186.6184 | par S+W 237 |  |  | 242.1907 | par S+W 267
198.2769 | Par. DMSO |  |  |  |  | 93.6664 | Par STS+WEHI 126 |  |  |  | 155.1985 | pDMSO237 |  |  | 233.7954 | par DMSO267
197.9141 | KO ZM |  |  |  |  | 201.1928 | C-2 KO DMSO 126 |  |  |  | 214.0913 | KO ZM 237 |  |  | 186.0076 | KO ZM 267
64.8517 | KO S+W |  |  |  |  | 193.6433 | C-2 KO ZM 126 |  |  |  | 47.4683 | KO S+W 237 |  |  | 100.5502 | KO S+W 267
207.2074 | KO DMSO |  |  |  |  | 46.5364 | C-2 KO STS+WEHI 126 |  |  |  | 178.458 | KO DMSO 237 |  |  | 241.9715 | KO DMSO 267
Fluorescent Assay C-3
[6 empty] | Sample: |  |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells:
[6 empty] | Par DMSO 126 |  |  | 1303.8333 | 1
[6 empty] | Par ZM 126 |  |  | 2148.6667 | 1.648
Fluorescent Assay C-3 | [5 empty] | Par STS+WEHI 126 |  |  | 43240 | 33.1637 | Fluorescent Assay C-3 |  |  |  | Fluorescent Assay C-3
|  | Mean Value of fluorecsence: |  | Normalized mean values to untreated cells: | Standart Deviation
ZM | Casp2-/- | 1128.3333 | 146.3694 | 1.125 | 0.11116 | C-2 KO DMSO 126 |  |  | 1012.5 | 1 | Sample: |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells: | Sample: |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells:
ZM |  | 1590.2222 | 577.8944 | 1.2633 | 0.37168 | C-2 KO ZM 126 |  |  | 1268.3333 | 1.2527 | P ZM 237 |  | 994.6667 | 0.91492 | P ZM 267 |  | 1627.3333 | 1.1745
S+W | Casp2-/- | 28816.3889 | 7388.6989 | 28.7302 | 9.3321
S+W |  | 42281.6667 | 1083.1519 | 33.588 | 3.6224 | C-2 KO STS+WEHI 126 |  |  | 33094.8333 | 32.6863 | P S+W 237 |  | 41106.5 | 37.8107 | P S+W 267 |  | 42498.5 | 30.6738
DMSO | Casp2-/- | 1003 | 88.7986 | 1 | 0
DMSO |  | 1258.8333 | 154.1734 | 1 | 0 |  |  |  | table 1 | table 2 | P DMSO 237 |  | 1087.1667 | 1 | P DMSO 267 |  | 1385.5 | 1
[11 empty] | KO ZM 237 |  | 1140.3333 | 1.0494 | KO ZM 267 |  | 976.3333 | 1.0731
[11 empty] | KO S+W 237 |  | 20284.6667 | 18.6669 | KO S+W 267 |  | 33069.6667 | 36.3469
[6 empty] | Fluorescence C- 2 Normalized to BCA |  |  | Normalized to BCA | Normalized (to BCA) to Untreated cells | KO DMSO 237 |  | 1086.6667 | 1 | KO DMSO 267 |  | 909.8333 | 1
[6 empty] | Sample: | [6 empty] | table 1 | table 2 |  |  | table 1 | table 2
[6 empty] | Par DMSO 126 |  |  | 6.3343 | 1
|  | Normalized to BCA |  | Normalized (to BCA) to Untreated cells |  | Par ZM 126 |  |  | 9.175 | 1.4485
[6 empty] | Par STS+WEHI 126 |  |  | 461.6385 | 72.8791 | Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA | Normalized (to BCA) to Untreated cells | Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA | Normalized (to BCA) to Untreated cells
Par. ZM |  | 8.7559 |  | 1.3791 |  | C-2 KO DMSO 126 |  |  | 5.0325 | 0.79448 | Sample: |  |  |  | Sample:
Par. S+W |  | 242.7769 |  | 38.2394 |  | C-2 KO ZM 126 |  |  | 6.5498 | 1.034 | P ZM 237 |  | 7.5076 | 1.0718 | P ZM 267 |  | 9.1333 | 1.5412
Par. DMSO |  | 6.3489 |  | 1 |  | C-2 KO STS+WEHI 126 |  |  | 711.1603 | 112.2713 | P S+W 237 |  | 220.2703 | 31.4447 | P S+W 267 |  | 175.4753 | 29.6105
KO ZM |  | 5.7011 |  | 0.89798 | [5 empty] | table 3 | P DMSO 237 |  | 7.005 | 1 | P DMSO 267 |  | 5.9261 | 1
KO S+W |  | 444.3431 |  | 69.9878 | [6 empty] | KO ZM 237 |  | 5.3264 | 0.76037 | KO ZM 267 |  | 5.2489 | 0.88572
KO DMSO |  | 4.8406 |  | 0.76243 | [6 empty] | KO S+W 237 |  | 427.3305 | 61.0036 | KO S+W 267 |  | 328.887 | 55.4978
[11 empty] | KO DMSO 237 |  | 6.0892 | 0.86926 | KO DMSO 267 |  | 3.7601 | 0.63449
table 3
1) Obtain 3 technical measurements of the same fluorigenic assay at the tecan
11:17
2) calculate an average of the 3 values
11:20
3) normalize flurescence values to BCA
Luca 11:38 AM
4) normalize values to DMSO wild type cells (including knockout DMSO)
11:39
5) plot one dot for each biological replicate

## Mean Value Finale Results C-2
|  | Mean Values of all Triplicates for C-2 |  |  |  | First Bio Replicate C-2 |  |  |  |  | Second Bio replicate C-2 |  |  |  |  | Third Bio Replicate C-2
BCA C-2 mean values of all triplicates |  |  |  | BCA C-2 |  |  |  |  | BCA C-2 |  |  |  | BCA C-2
ugr totale |  |  |  | ugr totale |  |  |  |  | ugr totale |  |  |  | ugr totale
192.6017 | Par. ZM |  |  | 218.7902 | par DMSO |  |  |  | 124.8201 | P ZM 237 |  |  | 207.881 | P ZM 267
185.509 | Par. S+W |  |  | 245.1041 | par ZM |  |  |  | 171.997 | P S+W 237 |  |  | 270.5251 | P S+W 267
190.6438 | Par. DMSO |  |  | 114.0048 | par STS+WEHI |  |  |  | 136.2541 | P DMSO 237 |  |  | 216.8872 | P DMSO 267
164.672 | KO ZM |  |  | 194.3403 | KO DMSO |  |  |  | 149.2543 | KO ZM 237 |  |  | 115.7434 | KO ZM 267
49.0111 | KO S+W |  |  | 229.0182 | KO ZM |  |  |  | 28.7824 | KO S+W 237 |  |  | 68.1513 | KO S+W 267
160.1166 | KO DMSO |  |  | 50.0997 | KO STS+WEHI |  |  |  | 145.6675 | KO DMSO 237 |  |  | 140.3421 | KO DMSO 267
Fluorescent Assay C-2
|  |  |  | Sample: |  |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells:
|  |  |  | par DMSO |  |  | 4097 | 1
|  |  |  | par ZM |  |  | 6898.6667 | 1.6838
Fluorescent Assay C-2 |  |  |  | par STS+WEHI |  |  | 44276.3333 | 10.807 | Fluorescent Assay C-2 |  |  |  | Fluorescent Assay C-2
|  | Mean Value of fluorecsence: | Normalized mean values to untreated cells: | KO DMSO |  |  | 3616.3333 | 1 | Sample: |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells: | Sample: |  | Mean Value of fluorecsence: |  | Normalized mean values to untreated cells:
Par. ZM |  | 3804.3333 | 1.5569 | KO ZM |  |  | 3544.6667 | 0.98018 | P ZM 237 |  | 1571.3333 | 1 | P ZM 267 |  | 2943 |  | 1
Par. S+W |  | 37634.4444 | 15.4013 | KO STS+WEHI |  |  | 23336 | 6.4529 | P S+W 237 |  | 25181.7778 | 16.0257 | P S+W 267 |  | 43445.2222 |  | 14.7622
Par. DMSO |  | 2443.5926 | 1 |  |  |  | table 1 | table 2 | P DMSO 237 |  | 1173.2222 | 0.74664 | P DMSO 267 |  | 2060.5556 |  | 0.70015
KO ZM |  | 2053.4815 | 1.0617 | [5 empty] | KO ZM 237 |  | 1452.2222 | 1 | KO ZM 267 |  | 1163.5556 |  | 1
KO S+W |  | 18369.3704 | 9.4972 | [5 empty] | KO S+W 237 |  | 11558.6667 | 7.9593 | KO S+W 267 |  | 20213.4444 |  | 17.3721
KO DMSO |  | 1934.1852 | 1 | Fluorescence C- 2 Normalized to BCA |  |  | Normalized to BCA | Normalized (to BCA) to Untreated cells | KO DMSO 237 |  | 1207.5556 | 0.83152 | KO DMSO 267 |  | 978.6667 |  | 0.8411
|  |  |  | Sample: | [6 empty] | table 1 | table 2 |  |  | table 1 |  | table 2
|  |  |  | Par DMSO |  |  | 18.7257 | 1
|  | Normalized to BCA | Normalized (to BCA) to Par Untreated cells | Par ZM |  |  | 28.1459 | 1.5031
Par. ZM |  | 19.7523 | 1.541 | Par STS+WEHI |  |  | 388.3727 | 20.7401 | Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA | Normalized (to BCA) to Untreated cells | Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA |  | Normalized (to BCA) to Untreated cells
Par. S+W |  | 202.8713 | 15.8276 | C-2 KO DMSO |  |  | 18.6083 | 0.99373 | Sample: |  |  |  | Sample:
Par. DMSO |  | 12.8176 | 1 | C-2 KO ZM |  |  | 15.4777 | 0.82655 | P ZM 237 |  | 12.5888 | 1.462 | P ZM 267 |  | 14.1571 |  | 1.4901
KO ZM |  | 12.4701 | 0.97289 | C-2 KO STS+WEHI |  |  | 465.791 | 24.8744 | P S+W 237 |  | 146.4082 | 17.0034 | P S+W 267 |  | 160.5959 |  | 16.9038
KO S+W |  | 374.7999 | 29.2411 |  |  |  |  | table 3 | P DMSO 237 |  | 8.6105 | 1 | P DMSO 267 |  | 9.5006 |  | 1
KO DMSO |  | 12.0799 | 0.94244 | [5 empty] | KO ZM 237 |  | 9.7298 | 1.13 | KO ZM 267 |  | 10.0529 |  | 1.0581
[9 empty] | KO S+W 237 |  | 401.5883 | 46.6391 | KO S+W 267 |  | 296.5965 |  | 31.2188
[9 empty] | KO DMSO 237 |  | 8.2898 | 0.96275 | KO DMSO 267 |  | 6.9734 |  | 0.734
[12 empty] | table 3 |  |  |  |  | table 3

## BCA Normalization Calculations
Blank: | 0.0905 |  |  |  | Proper BCA Calculation for Fluor Kit Normalization
For 65ul (from the reaction mixture) used for the Fluor Kit the Portein amount is:
[8 empty] | Total volume of the reaction (Lysate 45ul +Raction Buffer 45ul+Substrate2.25ul): | 92.25
A549 | Mean | w/o blanc | ug/mL | x10 (dil) | ug/uL | ug total | Sample | Taken to measure the fluorescence in the well "Vittoria" | 65 | Another way to calculate it:
Par DMSO | 0.5425 | 0.452 | 457.4154 | 4574.1539 | 4.5742 | 205.8369 | Par DMSO | 145.0341 |  | 145.0341
Par ZM | 0.60283 | 0.51233 | 520.4155 | 5204.1546 | 5.2042 | 234.187 | Par ZM | 165.0098 |  | 165.0098
Par STS+WEHI | 0.30378 | 0.21328 | 208.1475 | 2081.4746 | 2.0815 | 93.6664 | Par STS+WEHI | 65.998 |  | 65.998
C-2 KO DMSO | 0.53262 | 0.44212 | 447.0952 | 4470.9522 | 4.471 | 201.1928 | C-2 KO DMSO | 141.7619 |  | 141.7619
C-2 KO ZM | 0.51655 | 0.42605 | 430.3184 | 4303.1843 | 4.3032 | 193.6433 | C-2 KO ZM | 136.4424 |  | 136.4424
C-2 KO STS+WEHI | 0.20348 | 0.11298 | 103.4142 | 1034.1419 | 1.0341 | 46.5364 | C-2 KO STS+WEHI | 32.7899 |  | 32.7899
| 0 | 0 | -14.563 | -145.63 | -0.14563 | -6.5533
| 0 | 0 | -14.563 | -145.63 | -0.14563 | -6.5533
| 0 | 0 | -14.563 | -145.63 | -0.14563 | -6.5533
| 0 | 0 | -14.563 | -145.63 | -0.14563 | -6.5533
| 0 | 0 | -14.563 | -145.63 | -0.14563 | -6.5533

## 3_C3_Finale Results_III
BCA C-3 |  |  |  | Caspase-3 Fluorescent Assay Third biological Replicate
ugr totale |  |  |  |  | All samples were centrifuged.
178.1761 | par ZM 267 |  |  |  | A549+C-2KO, cell pellet 267 (Second Bio Replicate)
242.1907 | par S+W 267
233.7954 | par DMSO267
186.0076 | KO ZM 267
100.5502 | KO S+W 267
241.9715 | KO DMSO 267
Fluorescent Assay C-3
Sample: |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells:
P ZM 267 |  | 1627.3333 | 1
P S+W 267 |  | 42498.5 | 26.1154
P DMSO 267 |  | 1385.5 | 0.85139
KO ZM 267 |  | 976.3333 | 1
KO S+W 267 |  | 33069.6667 | 33.8713
KO DMSO 267 |  | 909.8333 | 0.93189
|  | table 1 | table 2
Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA | Normalized (to BCA) to Untreated cells
Sample:
P ZM 267 |  | 9.1333 | 1
P S+W 267 |  | 175.4753 | 19.2127
P DMSO 267 |  | 5.9261 | 0.64885
KO ZM 267 |  | 5.2489 | 1
KO S+W 267 |  | 328.887 | 62.6584
KO DMSO 267 |  | 3.7601 | 0.71636
table 3

## 2_C3_Finale Results_II
BCA C-3 |  |  |  | Caspase-3 Fluorescent Assay Second biological Replicate
ugr totale |  |  |  |  | All samples were centrifuged.
132.4871 | par ZM 237 |  |  |  | A549+C-2KO, cell pellet 237 (Second Bio Replicate)
186.6184 | par S+W 237
155.1985 | pDMSO237
214.0913 | KO ZM 237
47.4683 | KO S+W 237
178.458 | KO DMSO 237
Fluorescent Assay C-3
Sample: |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells:
P ZM 237 |  | 994.6667 | 1
P S+W 237 |  | 41106.5 | 41.3269
P DMSO 237 |  | 1087.1667 | 1.093
KO ZM 237 |  | 1140.3333 | 1
KO S+W 237 |  | 20284.6667 | 17.7884
KO DMSO 237 |  | 1086.6667 | 0.95294
|  | table 1 | table 2
Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA | Normalized (to BCA) to Untreated cells
Sample:
P ZM 237 |  | 7.5076 | 1
P S+W 237 |  | 220.2703 | 29.3395
P DMSO 237 |  | 7.005 | 0.93305
KO ZM 237 |  | 5.3264 | 1
KO S+W 237 |  | 427.3305 | 80.229
KO DMSO 237 |  | 6.0892 | 1.1432
table 3

## 2_3_C3_FLuor. Plate Read Out
Application: Tecan i-control |  |  |  | Tecan i-control , 1.11.1.0
Device: infinite 200Pro |  |  |  | Serial number: 1206001022 |  |  |  | Serial number of connected stacker:
Firmware: V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) |  |  |  | MAI, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)
Date: | 30/07/2019
Time: | 15:59:22
System |  |  |  | POVO-8L526Y1-PC
User |  |  |  | Povo-8L526Y1-PC\Povo-8L526Y1
Plate |  |  |  | Greiner 96 Flat Bottom Black Polystyrene Cat. No.: 655079/655086/655077/655076 [GRE96fb_chimney.pdfx]
Plate-ID (Stacker)
List of actions in this measurement script:
Kinetic
Fluorescence
Label: Caspase-3 / AFC
Kinetic Measurement
Kinetic Cycles |  |  |  | 3
Interval Time |  |  |  | Minimal
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 400 | nm
Emission Wavelength |  |  |  | 505 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 85 | Optimal (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Calculated From: D1) |  |  |  | 15535 | µm
Part of Plate |  |  |  | D1-D12
Start Time: | 30/07/2019 16:01:34
Cycle Nr. | 1 | 2 | 3 |  |  | Cycle Nr. | 1 | 2 | 3
Time [s] | 0 | 9.9 | 19.8 |  |  | Time [s] | 0 | 9.9 | 19.8 |  | Used for finale presentation
Temp. [°C] | 30.8 | 31.1 | 30.7 |  |  | Temp. [°C] | 30.6 | 30.8 | 31
D1 | 969 | 951 | 947 |  | par ZM 237 | D1 | 1046 | 1038 | 1017 | 994.6667 | 955.6667 | par ZM 237
D2 | 39856 | 40074 | 40125 |  | par S+W 237 | D2 | 42071 | 42301 | 42212 | 41106.5 | 40018.3333 | par S+W 237
D3 | 1051 | 1051 | 1034 |  | pDMSO237 | D3 | 1123 | 1132 | 1132 | 1087.1667 | 1045.3333 | pDMSO237
D4 | 1104 | 1094 | 1090 |  | KO ZM 237 | D4 | 1185 | 1187 | 1182 | 1140.3333 | 1096 | KO ZM 237
D5 | 19562 | 19574 | 19488 |  | KO S+W 237 | D5 | 21046 | 21042 | 20996 | 20284.6667 | 19541.3333 | KO S+W 237
D6 | 1050 | 1040 | 1035 |  | KO DMSO 237 | D6 | 1133 | 1135 | 1127 | 1086.6667 | 1041.6667 | KO DMSO 237
D7 | 1565 | 1562 | 1549 |  | par ZM 267 | D7 | 1697 | 1705 | 1686 | 1627.3333 | 1558.6667 | par ZM 267
D8 | 41419 | 41484 | 41114 |  | par S+W 267 | D8 | 43692 | 43790 | 43492 | 42498.5 | 41339 | par S+W 267
D9 | 1331 | 1333 | 1323 |  | pDMSO267 | D9 | 1445 | 1445 | 1436 | 1385.5 | 1329 | pDMSO267
D10 | 941 | 936 | 938 |  | KO ZM 267 | D10 | 1022 | 1012 | 1009 | 976.3333 | 938.3333 | KO ZM 267
D11 | 32215 | 32184 | 32014 |  | KO S+W 267 | D11 | 34046 | 33973 | 33986 | 33069.6667 | 32137.6667 | KO S+W 267
D12 | 883 | 876 | 884 |  | KO DMSO 267 | D12 | 942 | 933 | 941 | 909.8333 | 881 | KO DMSO 267
End Time: | 30/07/2019 16:02:04
Note on E1: Tecan.At.Common, 3.7.3.0 Tecan.At.Common.DocumentManagement, 3.7.3.0 Tecan.At.Common.DocumentManagement.Reader, 3.4.4.0 Tecan.At.Common.MCS, 3.7.3.0 Tecan.At.Common.Results, 3.7.3.0 Tecan.At.Common.UI, 3.7.3.0 Tecan.At.Communication.Common, 3.7.4.0 Tecan.At.Communication.Port.IP, 3.7.4.0 Tecan.At.Communication.Port.RS232, 3.7.4.0 Tecan.At.Communication.Port.SIM.Common, 3.7.4.0 Tecan.At.Communication.Port.USB, 3.7.4.0 Tecan.At.Communication.Server, 3.7.4.0 Tecan.At.Communication.SIM.AMR, 3.4.4.0 Tecan.At.Communication.SIM.AMRPlus, 3.4.4.0 Tecan.At.Communication.SIM.Connect, 3.7.4.0 Tecan.At.Communication.SIM.GeniosUltra, 3.4.4.0 Tecan.At.Communication.SIM.Safire3, 3.4.4.0 Tecan.At.Communication.SIM.Safire3Pro, 3.4.4.0 Tecan.At.Communication.SIM.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Common, 3.7.4.0 Tecan.At.Instrument.Common.GCM, 3.6.5.0 Tecan.At.Instrument.Common.Reader, 3.4.4.0 Tecan.At.Instrument.Common.Stacker, 3.7.4.0 Tecan.At.Instrument.Gas.GCM, 3.6.5.0 Tecan.At.Instrument.GCM.Server, 3.6.5.0 Tecan.At.Instrument.Reader.AMR, 3.4.4.0 Tecan.At.Instrument.Reader.AMRPlus, 3.4.4.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.4.4.0 Tecan.At.Instrument.Reader.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Server, 3.7.4.0 Tecan.At.Instrument.Stacker.Connect, 3.7.4.0 Tecan.At.Instrument.Stacker.Server, 3.7.4.0 Tecan.At.Measurement.BuiltInTest.Common, 3.4.4.0 Tecan.At.Measurement.Common, 3.4.4.0 Tecan.At.Measurement.Server, 3.4.4.0 Tecan.At.XFluor, 1.11.1.0 Tecan.At.XFluor.Connect.Reader, 1.11.1.0 Tecan.At.XFluor.Core, 1.11.1.0 Tecan.At.XFluor.Device, 1.11.1.0 Tecan.At.XFluor.Device.AMR, 1.11.1.0 Tecan.At.XFluor.Device.AMRPlus, 1.11.1.0 Tecan.At.XFluor.Device.GeniosUltra, 1.11.1.0 Tecan.At.XFluor.Device.Reader, 1.11.1.0 Tecan.At.XFluor.Device.Safire3, 1.11.1.0 Tecan.At.XFluor.Device.Safire3Pro, 1.11.1.0 Tecan.At.XFluor.Device.SunriseMini, 1.11.1.0 Tecan.At.XFluor.ExcelOutput, 1.11.1.0 Tecan.At.XFluor.NanoQuant, 1.11.1.0 Tecan.At.XFluor.ReaderEditor, 1.11.1.0
Note on E3: EHC, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) MTP, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) LUM, V_2.00_04/06_LUMINESCENCE (Apr 5 2006/08.57.29) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)

## 2_3_C3_BCA Calculations
BLANK | 0.10193
A549 | Mean | w/o blanc | ug/mL | x10 (dil) | ug/uL | ugr totale |  | *45 because this is how much we use from the cell lysate for the assay (but we load only 65ul on the fluorimetric plate, not 90ul)
par ZM 237 | 0.39783 | 0.2959 | 294.4158 | 2944.1577 | 2.9442 | 132.4871 | par ZM 237
par S+W 237 | 0.51303 | 0.4111 | 414.7076 | 4147.0762 | 4.1471 | 186.6184 | par S+W 237
pDMSO237 | 0.44617 | 0.34423 | 344.8854 | 3448.8544 | 3.4489 | 155.1985 | par DMSO237
KO ZM 237 | 0.5715 | 0.46957 | 475.7585 | 4757.585 | 4.7576 | 214.0913 | KO ZM 237
KO S+W 237 | 0.2169 | 0.11497 | 105.4852 | 1054.8519 | 1.0549 | 47.4683 | KO S+W 237
KO DMSO 237 | 0.49567 | 0.39373 | 396.5733 | 3965.7334 | 3.9657 | 178.458 | KO DMSO 237
par ZM 267 | 0.49507 | 0.39313 | 395.9468 | 3959.4683 | 3.9595 | 178.1761 | par ZM 267
par S+W 267 | 0.6313 | 0.52937 | 538.2017 | 5382.0167 | 5.382 | 242.1907 | par S+W 267
pDMSO267 | 0.61343 | 0.5115 | 519.5453 | 5195.4529 | 5.1955 | 233.7954 | par DMSO267
KO ZM 267 | 0.51173 | 0.4098 | 413.3501 | 4133.5014 | 4.1335 | 186.0076 | KO ZM 267
KO S+W 267 | 0.32987 | 0.22793 | 223.445 | 2234.4499 | 2.2344 | 100.5502 | KO S+W 267
KO DMSO 267 | 0.63083 | 0.5289 | 537.7144 | 5377.144 | 5.3771 | 241.9715 | KO DMSO 267

## 2_3_C3_BCA Plate Read Out
Application: Tecan i-control |  |  |  | Tecan i-control , 1.11.1.0
Device: infinite 200Pro |  |  |  | Serial number: 1206001022 |  |  | Serial number of connected stacker:
Firmware: V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) |  |  |  | MAI, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)
Date: | 30/07/2019
Time: | 15:56:07
System |  |  |  | POVO-8L526Y1-PC
User |  |  |  | Povo-8L526Y1-PC\Povo-8L526Y1
Plate |  |  |  | eppendorf 96 Flat Bottom transparent Polystyrol [eppendorf 96 flat transparent.pdfx]
Plate-ID (Stacker)
List of actions in this measurement script:
Kinetic
Absorbance
Label: Label1
Kinetic Measurement
Kinetic Cycles |  |  |  | 3
Interval Time |  |  |  | 0:00
Mode |  |  |  | Absorbance
Wavelength |  |  |  | 562 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | B5-B11; C1-C7
Start Time: | 30/07/2019 15:56:08
Cycle Nr. | 1 | 2 | 3 |  |  | Average:
Time [s] | 0 | 19.9 | 39.9 |  | Used for finale presentation of the data
Temp. [°C] | 31.1 | 30.7 | 30.8
B5 | 0.3954 | 0.3981 | 0.4 |  | par ZM 237 | 0.39783
B6 | 0.509 | 0.5126 | 0.5175 |  | par S+W 237 | 0.51303
B7 | 0.4434 | 0.4455 | 0.4496 |  | pDMSO237 | 0.44617
B8 | 0.57 | 0.5703 | 0.5742 |  | KO ZM 237 | 0.5715
B9 | 0.2153 | 0.217 | 0.2184 |  | KO S+W 237 | 0.2169
B10 | 0.4916 | 0.4958 | 0.4996 |  | KO DMSO 237 | 0.49567
B11 | 0.1016 | 0.1021 | 0.1021 |  | blanck | 0.10193
C1 | 0.4482 | 0.4542 | 0.457 |  | par ZM 267
C7 | 0.488 | 0.4971 | 0.5001 |  | par ZM 267 | 0.49507
C2 | 0.6262 | 0.6317 | 0.636 |  | par S+W 267 | 0.6313
C3 | 0.6084 | 0.6135 | 0.6184 |  | pDMSO267 | 0.61343
C4 | 0.5124 | 0.5106 | 0.5122 |  | KO ZM 267 | 0.51173
C5 | 0.3296 | 0.3298 | 0.3302 |  | KO S+W 267 | 0.32987
C6 | 0.6269 | 0.6297 | 0.6359 |  | KO DMSO 267 | 0.63083
End Time: | 30/07/2019 15:56:58
Note on E1: Tecan.At.Common, 3.7.3.0 Tecan.At.Common.DocumentManagement, 3.7.3.0 Tecan.At.Common.DocumentManagement.Reader, 3.4.4.0 Tecan.At.Common.MCS, 3.7.3.0 Tecan.At.Common.Results, 3.7.3.0 Tecan.At.Common.UI, 3.7.3.0 Tecan.At.Communication.Common, 3.7.4.0 Tecan.At.Communication.Port.IP, 3.7.4.0 Tecan.At.Communication.Port.RS232, 3.7.4.0 Tecan.At.Communication.Port.SIM.Common, 3.7.4.0 Tecan.At.Communication.Port.USB, 3.7.4.0 Tecan.At.Communication.Server, 3.7.4.0 Tecan.At.Communication.SIM.AMR, 3.4.4.0 Tecan.At.Communication.SIM.AMRPlus, 3.4.4.0 Tecan.At.Communication.SIM.Connect, 3.7.4.0 Tecan.At.Communication.SIM.GeniosUltra, 3.4.4.0 Tecan.At.Communication.SIM.Safire3, 3.4.4.0 Tecan.At.Communication.SIM.Safire3Pro, 3.4.4.0 Tecan.At.Communication.SIM.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Common, 3.7.4.0 Tecan.At.Instrument.Common.GCM, 3.6.5.0 Tecan.At.Instrument.Common.Reader, 3.4.4.0 Tecan.At.Instrument.Common.Stacker, 3.7.4.0 Tecan.At.Instrument.Gas.GCM, 3.6.5.0 Tecan.At.Instrument.GCM.Server, 3.6.5.0 Tecan.At.Instrument.Reader.AMR, 3.4.4.0 Tecan.At.Instrument.Reader.AMRPlus, 3.4.4.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.4.4.0 Tecan.At.Instrument.Reader.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Server, 3.7.4.0 Tecan.At.Instrument.Stacker.Connect, 3.7.4.0 Tecan.At.Instrument.Stacker.Server, 3.7.4.0 Tecan.At.Measurement.BuiltInTest.Common, 3.4.4.0 Tecan.At.Measurement.Common, 3.4.4.0 Tecan.At.Measurement.Server, 3.4.4.0 Tecan.At.XFluor, 1.11.1.0 Tecan.At.XFluor.Connect.Reader, 1.11.1.0 Tecan.At.XFluor.Core, 1.11.1.0 Tecan.At.XFluor.Device, 1.11.1.0 Tecan.At.XFluor.Device.AMR, 1.11.1.0 Tecan.At.XFluor.Device.AMRPlus, 1.11.1.0 Tecan.At.XFluor.Device.GeniosUltra, 1.11.1.0 Tecan.At.XFluor.Device.Reader, 1.11.1.0 Tecan.At.XFluor.Device.Safire3, 1.11.1.0 Tecan.At.XFluor.Device.Safire3Pro, 1.11.1.0 Tecan.At.XFluor.Device.SunriseMini, 1.11.1.0 Tecan.At.XFluor.ExcelOutput, 1.11.1.0 Tecan.At.XFluor.NanoQuant, 1.11.1.0 Tecan.At.XFluor.ReaderEditor, 1.11.1.0
Note on E3: EHC, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) MTP, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) LUM, V_2.00_04/06_LUMINESCENCE (Apr 5 2006/08.57.29) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)

## 3_C2_Finale Results_III
BCA C-2 |  |  |  | Caspase-2 Fluorescent Assay Third biological Replicate
ugr totale |  |  |  |  | All samples were centrifuged.
207.881 | P ZM 267 |  |  |  | A549+C-2KO, cell pellet 267 (Second Bio Replicate)
270.5251 | P S+W 267
216.8872 | P DMSO 267
115.7434 | KO ZM 267
68.1513 | KO S+W 267
140.3421 | KO DMSO 267
Fluorescent Assay C-2
Sample: |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells:
P ZM 267 |  | 2943 | 1
P S+W 267 |  | 43445.2222 | 14.7622
P DMSO 267 |  | 2060.5556 | 0.70015
KO ZM 267 |  | 1163.5556 | 1
KO S+W 267 |  | 20213.4444 | 17.3721
KO DMSO 267 |  | 978.6667 | 0.8411
|  | table 1 | table 2
Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA | Normalized (to BCA) to Untreated cells
Sample:
P ZM 267 |  | 14.1571 | 1
P S+W 267 |  | 160.5959 | 11.3438
P DMSO 267 |  | 9.5006 | 0.67108
KO ZM 267 |  | 10.0529 | 1
KO S+W 267 |  | 296.5965 | 29.5036
KO DMSO 267 |  | 6.9734 | 0.69367
table 3

## 2_C2_Finale Results_II
BCA C-2 |  |  |  | Caspase-2 Fluorescent Assay Second biological Replicate
ugr totale |  |  |  |  | All samples were centrifuged.
124.8201 | P ZM 237 |  |  |  | A549+C-2KO, cell pellet 237 (Second Bio Replicate)
171.997 | P S+W 237
136.2541 | P DMSO 237
149.2543 | KO ZM 237
28.7824 | KO S+W 237
145.6675 | KO DMSO 237
Fluorescent Assay C-2
Sample: |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells:
P ZM 237 |  | 1571.3333 | 1
P S+W 237 |  | 25181.7778 | 16.0257
P DMSO 237 |  | 1173.2222 | 0.74664
KO ZM 237 |  | 1452.2222 | 1
KO S+W 237 |  | 11558.6667 | 7.9593
KO DMSO 237 |  | 1207.5556 | 0.83152
|  | table 1 | table 2
Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA | Normalized (to BCA) to Untreated cells
Sample:
P ZM 237 |  | 12.5888 | 1
P S+W 237 |  | 146.4082 | 11.63
P DMSO 237 |  | 8.6105 | 0.68399
KO ZM 237 |  | 9.7298 | 1
KO S+W 237 |  | 401.5883 | 41.2739
KO DMSO 237 |  | 8.2898 | 0.852
table 3

## 2_3_C2_FLuor. Plate Read Out
Application: Tecan i-control |  |  |  | Tecan i-control , 1.11.1.0
Device: infinite 200Pro |  |  |  | Serial number: 1206001022 |  |  | Serial number of connected stacker:
Firmware: V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) |  |  |  | MAI, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)
Date: | 2019-01-08
Time: | 14:53:25
System |  |  |  | POVO-8L526Y1-PC
User |  |  |  | Povo-8L526Y1-PC\Povo-8L526Y1
Plate |  |  |  | Greiner 96 Flat Bottom Black Polystyrene Cat. No.: 655079/655086/655077/655076 [GRE96fb_chimney.pdfx]
Plate-ID (Stacker)
List of actions in this measurement script:
Kinetic
Fluorescence
Label: Caspase-3 / AFC
Kinetic Measurement
Kinetic Cycles |  |  |  | 3
Interval Time |  |  |  | Minimal
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 400 | nm
Emission Wavelength |  |  |  | 505 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 86 | Optimal (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Calculated From: E1) |  |  |  | 16159 | µm
Part of Plate |  |  |  | E1-E12
Start Time: | 01/08/2019 14:55:14
Part of Plate |  |  |  | E1-E12 |  |  |  | Cartel 2 |  |  |  | CASPASE_2_2_
Start Time: | 01/08/2019 14:55:14 | [5 empty] | Start Time: | 01/08/2019 14:59:14
[11 empty] | Start Time: | 01/08/2019 15:02:30
Average:
Error: | Command: "CHECK FI.TOP.STEPLOSS" Returned answer: "ERR044: GRATING at module MEX lost steps abs(198)>4"
Cycle Nr. | 1 | 2 | 3 |  |  | Cycle Nr. | 1 | 2 | 3 | Cycle Nr. | 1 | 2 | 3 | 1571.3333 | pZM237
Time [s] | 0 | 10 | 19.9 |  | This data ws used for the finale presentation | Time [s] | 0 | 9.9 | 19.9 | Time [s] | 0 | 9.9 | 19.9 | 25181.7778 | pS+W237
Temp. [°C] | 30.8 | 30.6 | 30.7 |  |  | Temp. [°C] | 30.6 | 30.5 | 30.6 | Temp. [°C] | 30.5 | 30.5 | 30.7 | 1173.2222 | pDMSO237
E1 | 1563 | 1553 | 1585 | pZM237 | 1567 | E1 | 1579 | 1558 | 1567 | E1 | 1573 | 1606 | 1558 | 1452.2222 | KOZM237
E2 | 25103 | 25152 | 25217 | pS+W237 | 25157.3333 | E2 | 25245 | 25224 | 25219 | E2 | 25169 | 25157 | 25150 | 11558.6667 | KOS+W237
E3 | 1189 | 1154 | 1162 | pDMSO237 | 1168.3333 | E3 | 1173 | 1168 | 1173 | E3 | 1182 | 1179 | 1179 | 1207.5556 | KODMSO237
E4 | 1448 | 1444 | 1449 | KOZM237 | 1447 | E4 | 1457 | 1455 | 1470 | E4 | 1445 | 1455 | 1447 | 2943 | PZM267
E5 | 11473 | 11490 | 11508 | KOS+W237 | 11490.3333 | E5 | 11588 | 11572 | 11523 | E5 | 11631 | 11610 | 11633 | 43445.2222 | PS+W267
E6 | 1200 | 1203 | 1199 | KODMSO237 | 1200.6667 | E6 | 1213 | 1207 | 1216 | E6 | 1219 | 1203 | 1208 | 2060.5556 | PDMSO267
E7 | 2929 | 2930 | 2922 | PZM267 | 2927 | E7 | 2943 | 2965 | 2942 | E7 | 2961 | 2940 | 2955 | 1163.5556 | KOZM267
E8 | 43504 | 43568 | 43491 | PS+W267 | 43521 | E8 | 43519 | 43501 | 43473 | E8 | 43307 | 43305 | 43339 | 20213.4444 | KOS+W267
E9 | 2048 | 2061 | 2047 | PDMSO267 | 2052 | E9 | 2073 | 2057 | 2059 | E9 | 2070 | 2074 | 2056 | 978.6667 | KODMSO267
E10 | 1161 | 1165 | 1159 | KOZM267 | 1161.6667 | E10 | 1170 | 1171 | 1161 | E10 | 1158 | 1160 | 1167
E11 | 20120 | 20102 | 20060 | KOS+W267 | 20094 | E11 | 20307 | 20252 | 20141 | E11 | 20343 | 20294 | 20302
E12 | 979 | 976 | 982 | KODMSO267 | 979 | E12 | 980 | 978 | 967 | E12 | 984 | 978 | 984
End Time: | 01/08/2019 14:55:44 | [5 empty] | pellet 237 = Second Bio Replicate
pellet 267= Third Bio replicate
Note on E1: Tecan.At.Common, 3.7.3.0 Tecan.At.Common.DocumentManagement, 3.7.3.0 Tecan.At.Common.DocumentManagement.Reader, 3.4.4.0 Tecan.At.Common.MCS, 3.7.3.0 Tecan.At.Common.Results, 3.7.3.0 Tecan.At.Common.UI, 3.7.3.0 Tecan.At.Communication.Common, 3.7.4.0 Tecan.At.Communication.Port.IP, 3.7.4.0 Tecan.At.Communication.Port.RS232, 3.7.4.0 Tecan.At.Communication.Port.SIM.Common, 3.7.4.0 Tecan.At.Communication.Port.USB, 3.7.4.0 Tecan.At.Communication.Server, 3.7.4.0 Tecan.At.Communication.SIM.AMR, 3.4.4.0 Tecan.At.Communication.SIM.AMRPlus, 3.4.4.0 Tecan.At.Communication.SIM.Connect, 3.7.4.0 Tecan.At.Communication.SIM.GeniosUltra, 3.4.4.0 Tecan.At.Communication.SIM.Safire3, 3.4.4.0 Tecan.At.Communication.SIM.Safire3Pro, 3.4.4.0 Tecan.At.Communication.SIM.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Common, 3.7.4.0 Tecan.At.Instrument.Common.GCM, 3.6.5.0 Tecan.At.Instrument.Common.Reader, 3.4.4.0 Tecan.At.Instrument.Common.Stacker, 3.7.4.0 Tecan.At.Instrument.Gas.GCM, 3.6.5.0 Tecan.At.Instrument.GCM.Server, 3.6.5.0 Tecan.At.Instrument.Reader.AMR, 3.4.4.0 Tecan.At.Instrument.Reader.AMRPlus, 3.4.4.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.4.4.0 Tecan.At.Instrument.Reader.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Server, 3.7.4.0 Tecan.At.Instrument.Stacker.Connect, 3.7.4.0 Tecan.At.Instrument.Stacker.Server, 3.7.4.0 Tecan.At.Measurement.BuiltInTest.Common, 3.4.4.0 Tecan.At.Measurement.Common, 3.4.4.0 Tecan.At.Measurement.Server, 3.4.4.0 Tecan.At.XFluor, 1.11.1.0 Tecan.At.XFluor.Connect.Reader, 1.11.1.0 Tecan.At.XFluor.Core, 1.11.1.0 Tecan.At.XFluor.Device, 1.11.1.0 Tecan.At.XFluor.Device.AMR, 1.11.1.0 Tecan.At.XFluor.Device.AMRPlus, 1.11.1.0 Tecan.At.XFluor.Device.GeniosUltra, 1.11.1.0 Tecan.At.XFluor.Device.Reader, 1.11.1.0 Tecan.At.XFluor.Device.Safire3, 1.11.1.0 Tecan.At.XFluor.Device.Safire3Pro, 1.11.1.0 Tecan.At.XFluor.Device.SunriseMini, 1.11.1.0 Tecan.At.XFluor.ExcelOutput, 1.11.1.0 Tecan.At.XFluor.NanoQuant, 1.11.1.0 Tecan.At.XFluor.ReaderEditor, 1.11.1.0
Note on E3: EHC, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) MTP, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) LUM, V_2.00_04/06_LUMINESCENCE (Apr 5 2006/08.57.29) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)

## 2_3_C2_BCA Calculations
BLANK | 0.11577
A549 | Mean | w/o blanc | ug/mL | x10 (dil) | ug/uL | Blanc | 0.11577 |  | ugr totale |  | *45 because this is how much we use from the cell lysate for the assay (but we load only 65ul on the fluorimetric plate, not 90ul)
P ZM 237 | 0.39217 | 0.2764 | 274.0539 | 2740.5388 | 2.7405 | P ZM 237 | 0.39217 |  | 123.3242 | P ZM 237
P S+W 237 | 0.4795 | 0.36373 | 365.2474 | 3652.4735 | 3.6525 | P S+W 237 | 0.4795 |  | 164.3613 | P S+W 237
P DMSO 237 | 0.41377 | 0.298 | 296.6086 | 2966.086 | 2.9661 | P DMSO 237 | 0.41377 |  | 133.4739 | P DMSO 237
KO ZM 237 | 0.44457 | 0.3288 | 328.77 | 3287.6996 | 3.2877 | KO ZM 237 | 0.44457 |  | 147.9465 | KO ZM 237
KO S+W 237 | 0.19243 | 0.076667 | 65.4923 | 654.9233 | 0.65492 | KO S+W 237 | 0.19243 |  | 29.4715 | KO S+W 237
KO DMSO 237 | 0.42997 | 0.3142 | 313.5246 | 3135.2464 | 3.1352 | KO DMSO 237 | 0.42997 |  | 141.0861 | KO DMSO 237
P ZM 267 | 0.5547 | 0.43893 | 443.7712 | 4437.7118 | 4.4377 | P ZM 267 | 0.5547 |  | 199.697 | P ZM 267
P S+W 267 | 0.70633 | 0.59057 | 602.1067 | 6021.067 | 6.0211 | P S+W 267 | 0.70633 |  | 270.948 | P S+W 267
P DMSO 267 | 0.5765 | 0.46073 | 466.5347 | 4665.3472 | 4.6653 | P DMSO 267 | 0.5765 |  | 209.9406 | P DMSO 267
KO ZM 267 | 0.36703 | 0.25127 | 247.8097 | 2478.0965 | 2.4781 | KO ZM 267 | 0.36703 |  | 111.5143 | KO ZM 267
KO S+W 267 | 0.27767 | 0.1619 | 154.493 | 1544.9298 | 1.5449 | KO S+W 267 | 0.27767 |  | 69.5218 | KO S+W 267
KO DMSO 267 | 0.41473 | 0.29897 | 297.618 | 2976.1799 | 2.9762 | KO DMSO 267 | 0.41473 |  | 133.9281 | KO DMSO 267
BLANK | 0.12455
A549 | Mean | w/o blanc | ug/mL | x10 (dil) | ug/uL |  |  | ugr totale
P ZM 237 | 0.40413 | 0.27958 | 277.3779 | 2773.7791 | 2.7738 |  |  | 124.8201 | P ZM 237
P S+W 237 | 0.50453 | 0.37998 | 382.2156 | 3822.1561 | 3.8222 |  |  | 171.997 | P S+W 237
P DMSO 237 | 0.42847 | 0.30392 | 302.7868 | 3027.8679 | 3.0279 |  |  | 136.2541 | P DMSO 237
KO ZM 237 | 0.45613 | 0.33158 | 331.6763 | 3316.7632 | 3.3168 |  |  | 149.2543 | KO ZM 237
KO S+W 237 | 0.19975 | 0.0752 | 63.9608 | 639.6084 | 0.63961 |  |  | 28.7824 | KO S+W 237
KO DMSO 237 | 0.4485 | 0.32395 | 323.7056 | 3237.0559 | 3.2371 |  |  | 145.6675 | KO DMSO 237
P ZM 267 | 0.5809 | 0.45635 | 461.9577 | 4619.5768 | 4.6196 |  |  | 207.881 | P ZM 267
P S+W 267 | 0.71422 | 0.58967 | 601.1669 | 6011.6693 | 6.0117 |  |  | 270.5251 | P S+W 267
P DMSO 267 | 0.60007 | 0.47552 | 481.9715 | 4819.7149 | 4.8197 |  |  | 216.8872 | P DMSO 267
KO ZM 267 | 0.38482 | 0.26027 | 257.2075 | 2572.0745 | 2.5721 |  |  | 115.7434 | KO ZM 267
KO S+W 267 | 0.28353 | 0.15898 | 151.4474 | 1514.474 | 1.5145 |  |  | 68.1513 | KO S+W 267
KO DMSO 267 | 0.43717 | 0.31262 | 311.8713 | 3118.7132 | 3.1187 |  |  | 140.3421 | KO DMSO 267

## 2_3_C2_BCA Plate Read Out
Application: Tecan i-control |  |  |  | Tecan i-control , 1.11.1.0
Device: infinite 200Pro |  |  |  | Serial number: 1206001022 |  |  | Serial number of connected stacker:
Firmware: V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) |  |  |  | MAI, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)
Date: | 2019-01-08
Time: | 15:49:32
System |  |  |  | POVO-8L526Y1-PC
User |  |  |  | Povo-8L526Y1-PC\Povo-8L526Y1
Plate |  |  |  | eppendorf 96 Flat Bottom transparent Polystyrol [eppendorf 96 flat transparent.pdfx]
Plate-ID (Stacker)
List of actions in this measurement script:
Kinetic
Absorbance
Label: Label1
Kinetic Measurement
Kinetic Cycles |  |  |  | 3
Interval Time |  |  |  | 0:00
Mode |  |  |  | Absorbance
Wavelength |  |  |  | 562 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | C12-C12; E1-E12
Start Time: | 01/08/2019 15:49:33
30 min incubation 37'C
Used in the finale presentation of the data
Cycle Nr. | 1 | 2 | 3 |  |  | II. | I. | finale avergae: |  | Cycle Nr. | 1 | 2 | 3 |  | I.
Time [s] | 0 | 20 | 40 |  |  | Average | Average: |  |  | Time [s] | 0 | 19.9 | 39.9 |  | Average:
Temp. [°C] | 30.6 | 30.8 | 30.8 | [6 empty] | Temp. [°C] | 30.4 | 30.6 | 30.6
C12 | 0.1152 | 0.1159 | 0.1162 | Blanc |  | 0.11577 | 0.11577 | 0.11577 | Blanc | C12 | 0.1152 | 0.1159 | 0.1162 | Blanc | 0.11577
E1 | 0.3904 | 0.3921 | 0.394 | P ZM 237 |  | 0.39217 | 0.4161 | 0.40413 | P ZM 237 | D1 | 0.413 | 0.4158 | 0.4195 | P ZM 237 | 0.4161
E2 | 0.4754 | 0.4799 | 0.4832 | P S+W 237 |  | 0.4795 | 0.52957 | 0.50453 | P S+W 237 | D2 | 0.5238 | 0.5303 | 0.5346 | P S+W 237 | 0.52957
E3 | 0.4104 | 0.4143 | 0.4166 | P DMSO 237 |  | 0.41377 | 0.44317 | 0.42847 | P DMSO 237 | D3 | 0.4388 | 0.4447 | 0.446 | P DMSO 237 | 0.44317
E4 | 0.44 | 0.4458 | 0.4479 | KO ZM 237 |  | 0.44457 | 0.4677 | 0.45613 | KO ZM 237 | D4 | 0.4638 | 0.468 | 0.4713 | KO ZM 237 | 0.4677
E5 | 0.1907 | 0.1924 | 0.1942 | KO S+W 237 |  | 0.19243 | 0.20707 | 0.19975 | KO S+W 237 | D5 | 0.2053 | 0.2074 | 0.2085 | KO S+W 237 | 0.20707
E6 | 0.4247 | 0.4305 | 0.4347 | KO DMSO 237 |  | 0.42997 | 0.46703 | 0.4485 | KO DMSO 237 | D6 | 0.4633 | 0.4677 | 0.4701 | KO DMSO 237 | 0.46703
E7 | 0.5481 | 0.5559 | 0.5601 | P ZM 267 |  | 0.5547 | 0.6071 | 0.5809 | P ZM 267 | D7 | 0.601 | 0.6082 | 0.6121 | P ZM 267 | 0.6071
E8 | 0.7004 | 0.7068 | 0.7118 | P S+W 267 |  | 0.70633 | 0.7221 | 0.71422 | P S+W 267 | D8 | 0.714 | 0.7234 | 0.7289 | P S+W 267 | 0.7221
E9 | 0.5717 | 0.5764 | 0.5814 | P DMSO 267 |  | 0.5765 | 0.62363 | 0.60007 | P DMSO 267 | D9 | 0.62 | 0.6228 | 0.6281 | P DMSO 267 | 0.62363
E10 | 0.3637 | 0.3673 | 0.3701 | KO ZM 267 |  | 0.36703 | 0.4026 | 0.38482 | KO ZM 267 | D10 | 0.3995 | 0.4017 | 0.4066 | KO ZM 267 | 0.4026
E11 | 0.2751 | 0.2779 | 0.28 | KO S+W 267 |  | 0.27767 | 0.2894 | 0.28353 | KO S+W 267 | D11 | 0.2877 | 0.2896 | 0.2909 | KO S+W 267 | 0.2894
E12 | 0.4114 | 0.4152 | 0.4176 | KO DMSO 267 |  | 0.41473 | 0.4596 | 0.43717 | KO DMSO 267 | D12 | 0.4581 | 0.459 | 0.4617 | KO DMSO 267 | 0.4596
End Time: | 01/08/2019 15:50:23
Note on E1: Tecan.At.Common, 3.7.3.0 Tecan.At.Common.DocumentManagement, 3.7.3.0 Tecan.At.Common.DocumentManagement.Reader, 3.4.4.0 Tecan.At.Common.MCS, 3.7.3.0 Tecan.At.Common.Results, 3.7.3.0 Tecan.At.Common.UI, 3.7.3.0 Tecan.At.Communication.Common, 3.7.4.0 Tecan.At.Communication.Port.IP, 3.7.4.0 Tecan.At.Communication.Port.RS232, 3.7.4.0 Tecan.At.Communication.Port.SIM.Common, 3.7.4.0 Tecan.At.Communication.Port.USB, 3.7.4.0 Tecan.At.Communication.Server, 3.7.4.0 Tecan.At.Communication.SIM.AMR, 3.4.4.0 Tecan.At.Communication.SIM.AMRPlus, 3.4.4.0 Tecan.At.Communication.SIM.Connect, 3.7.4.0 Tecan.At.Communication.SIM.GeniosUltra, 3.4.4.0 Tecan.At.Communication.SIM.Safire3, 3.4.4.0 Tecan.At.Communication.SIM.Safire3Pro, 3.4.4.0 Tecan.At.Communication.SIM.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Common, 3.7.4.0 Tecan.At.Instrument.Common.GCM, 3.6.5.0 Tecan.At.Instrument.Common.Reader, 3.4.4.0 Tecan.At.Instrument.Common.Stacker, 3.7.4.0 Tecan.At.Instrument.Gas.GCM, 3.6.5.0 Tecan.At.Instrument.GCM.Server, 3.6.5.0 Tecan.At.Instrument.Reader.AMR, 3.4.4.0 Tecan.At.Instrument.Reader.AMRPlus, 3.4.4.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.4.4.0 Tecan.At.Instrument.Reader.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Server, 3.7.4.0 Tecan.At.Instrument.Stacker.Connect, 3.7.4.0 Tecan.At.Instrument.Stacker.Server, 3.7.4.0 Tecan.At.Measurement.BuiltInTest.Common, 3.4.4.0 Tecan.At.Measurement.Common, 3.4.4.0 Tecan.At.Measurement.Server, 3.4.4.0 Tecan.At.XFluor, 1.11.1.0 Tecan.At.XFluor.Connect.Reader, 1.11.1.0 Tecan.At.XFluor.Core, 1.11.1.0 Tecan.At.XFluor.Device, 1.11.1.0 Tecan.At.XFluor.Device.AMR, 1.11.1.0 Tecan.At.XFluor.Device.AMRPlus, 1.11.1.0 Tecan.At.XFluor.Device.GeniosUltra, 1.11.1.0 Tecan.At.XFluor.Device.Reader, 1.11.1.0 Tecan.At.XFluor.Device.Safire3, 1.11.1.0 Tecan.At.XFluor.Device.Safire3Pro, 1.11.1.0 Tecan.At.XFluor.Device.SunriseMini, 1.11.1.0 Tecan.At.XFluor.ExcelOutput, 1.11.1.0 Tecan.At.XFluor.NanoQuant, 1.11.1.0 Tecan.At.XFluor.ReaderEditor, 1.11.1.0
Note on E3: EHC, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) MTP, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) LUM, V_2.00_04/06_LUMINESCENCE (Apr 5 2006/08.57.29) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)

## 1_C2_Finale Results
BCA C-2
ugr totale |  |  |  | All samples were centrifuged.
218.7902 | par DMSO |  |  | A549, cell pellet p126; KO126
245.1041 | par ZM
114.0048 | par STS+WEHI
194.3403 | KO DMSO
229.0182 | KO ZM
50.0997 | KO STS+WEHI
Fluorescent Assay C-2
Sample: |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells:
par DMSO |  | 4097 | 1
par ZM |  | 6898.6667 | 1.6838
par STS+WEHI |  | 44276.3333 | 10.807
KO DMSO |  | 3616.3333 | 1
KO ZM |  | 3544.6667 | 0.98018
KO STS+WEHI |  | 23336 | 6.4529
|  | table 1 | table 2
Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA | Normalized (to BCA) to Untreated cells
Sample:
Par DMSO |  | 18.7257 | 1
Par ZM |  | 28.1459 | 1.5031
Par STS+WEHI |  | 388.3727 | 20.7401
C-2 KO DMSO |  | 18.6083 | 1
C-2 KO ZM |  | 15.4777 | 0.83176
C-2 KO STS+WEHI |  | 465.791 | 25.0314
table 3

## 1_C2_Fluorescenc_Plate_Read_Out
Application: Tecan i-control |  |  |  | Tecan i-control , 1.11.1.0
Device: infinite 200Pro |  |  |  | Serial number: 1206001022 |  |  |  | Serial number of connected stacker:
Firmware: V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) |  |  |  | MAI, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)
Date: | 28/06/2019
Time: | 13:30:21
System |  |  |  | POVO-8L526Y1-PC
User |  |  |  | Povo-8L526Y1-PC\Povo-8L526Y1
Plate |  |  |  | Greiner 96 Flat Bottom Black Polystyrene Cat. No.: 655079/655086/655077/655076 [GRE96fb_chimney.pdfx]
Plate-ID (Stacker)
List of actions in this measurement script:
Kinetic
Fluorescence
Label: Caspase-3 / AFC
Kinetic Measurement
Kinetic Cycles |  |  |  | 3
Interval Time |  |  |  | 0:00
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 400 | nm
Emission Wavelength |  |  |  | 505 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 101 | Optimal (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Calculated From: C7) |  |  |  | 15535 | µm
Part of Plate |  |  |  | C7-C12
Start Time: | 28/06/2019 13:32:07
28.06.2019_C2
13:55h.
Cycle Nr. | 1 | 2 | 3 | [5 empty] | Cycle Nr. | 1 | 2 | 3
Time [s] | 0 | 20 | 40 | [5 empty] | Time [s] | 0 | 20 | 40
Temp. [°C] | 31.6 | 31.7 | 31.9 |  |  |  | Average: |  | Temp. [°C] | 31.7 | 31.8 | 31.7
C7 | 4072 | 4105 | 4114 |  |  | par DMSO | 4097 |  | C7 | 3882 | 3881 | 3869
C8 | 6916 | 6865 | 6915 |  |  | par ZM | 6898.6667 |  | C8 | 6512 | 6472 | 6538
C9 | 44098 | 44240 | 44491 |  |  | par STS+WEHI | 44276.3333 |  | C9 | 43405 | 43275 | 43407
C10 | 3611 | 3636 | 3602 |  |  | KO DMSO | 3616.3333 |  | C10 | 3349 | 3345 | 3328
C11 | 3505 | 3557 | 3572 |  |  | KO ZM | 3544.6667 |  | C11 | 3232 | 3186 | 3212
C12 | 23277 | 23355 | 23376 |  |  | KO STS+WEHI | 23336 |  | C12 | 23129 | 22907 | 23069
End Time: | 28/06/2019 13:32:53
Note on E1: Tecan.At.Common, 3.7.3.0 Tecan.At.Common.DocumentManagement, 3.7.3.0 Tecan.At.Common.DocumentManagement.Reader, 3.4.4.0 Tecan.At.Common.MCS, 3.7.3.0 Tecan.At.Common.Results, 3.7.3.0 Tecan.At.Common.UI, 3.7.3.0 Tecan.At.Communication.Common, 3.7.4.0 Tecan.At.Communication.Port.IP, 3.7.4.0 Tecan.At.Communication.Port.RS232, 3.7.4.0 Tecan.At.Communication.Port.SIM.Common, 3.7.4.0 Tecan.At.Communication.Port.USB, 3.7.4.0 Tecan.At.Communication.Server, 3.7.4.0 Tecan.At.Communication.SIM.AMR, 3.4.4.0 Tecan.At.Communication.SIM.AMRPlus, 3.4.4.0 Tecan.At.Communication.SIM.Connect, 3.7.4.0 Tecan.At.Communication.SIM.GeniosUltra, 3.4.4.0 Tecan.At.Communication.SIM.Safire3, 3.4.4.0 Tecan.At.Communication.SIM.Safire3Pro, 3.4.4.0 Tecan.At.Communication.SIM.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Common, 3.7.4.0 Tecan.At.Instrument.Common.GCM, 3.6.5.0 Tecan.At.Instrument.Common.Reader, 3.4.4.0 Tecan.At.Instrument.Common.Stacker, 3.7.4.0 Tecan.At.Instrument.Gas.GCM, 3.6.5.0 Tecan.At.Instrument.GCM.Server, 3.6.5.0 Tecan.At.Instrument.Reader.AMR, 3.4.4.0 Tecan.At.Instrument.Reader.AMRPlus, 3.4.4.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.4.4.0 Tecan.At.Instrument.Reader.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Server, 3.7.4.0 Tecan.At.Instrument.Stacker.Connect, 3.7.4.0 Tecan.At.Instrument.Stacker.Server, 3.7.4.0 Tecan.At.Measurement.BuiltInTest.Common, 3.4.4.0 Tecan.At.Measurement.Common, 3.4.4.0 Tecan.At.Measurement.Server, 3.4.4.0 Tecan.At.XFluor, 1.11.1.0 Tecan.At.XFluor.Connect.Reader, 1.11.1.0 Tecan.At.XFluor.Core, 1.11.1.0 Tecan.At.XFluor.Device, 1.11.1.0 Tecan.At.XFluor.Device.AMR, 1.11.1.0 Tecan.At.XFluor.Device.AMRPlus, 1.11.1.0 Tecan.At.XFluor.Device.GeniosUltra, 1.11.1.0 Tecan.At.XFluor.Device.Reader, 1.11.1.0 Tecan.At.XFluor.Device.Safire3, 1.11.1.0 Tecan.At.XFluor.Device.Safire3Pro, 1.11.1.0 Tecan.At.XFluor.Device.SunriseMini, 1.11.1.0 Tecan.At.XFluor.ExcelOutput, 1.11.1.0 Tecan.At.XFluor.NanoQuant, 1.11.1.0 Tecan.At.XFluor.ReaderEditor, 1.11.1.0
Note on E3: EHC, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) MTP, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) LUM, V_2.00_04/06_LUMINESCENCE (Apr 5 2006/08.57.29) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)

## 1_C2_BCA calculations
BLANK | 0.1127 | [7 empty] | BLANK | 0.113
A549 | Mean | w/o blanc | ug/mL | x10 (dil) | ug/uL | ugr totale |  |  | A549 | Mean | w/o blanc | ug/mL | x10 (dil) | ug/uL | ugr totale
par DMSO | 0.58893 | 0.47623 | 482.7198 | 4827.1984 | 4.8272 | 217.2239 | par DMSO |  | par DMSO | 0.59257 | 0.47987 | 486.5138 | 4865.1378 | 4.8651 | 218.9312 | par DMSO
par ZM | 0.63767 | 0.52497 | 533.6072 | 5336.0719 | 5.3361 | 240.1232 | par ZM |  | par ZM | 0.64857 | 0.53587 | 544.989 | 5449.8897 | 5.4499 | 245.245 | par ZM
par STS+WEHI | 0.3652 | 0.2525 | 249.0975 | 2490.9751 | 2.491 | 112.0939 | par STS+WEHI | data from 6 technical measurements and their mean for the BCA | par STS+WEHI | 0.36957 | 0.25687 | 253.6572 | 2536.5718 | 2.5366 | 114.1457 | par STS+WEHI
KO DMSO | 0.53297 | 0.42027 | 424.2794 | 4242.7944 | 4.2428 | 190.9257 | KO DMSO |  | KO DMSO | 0.54053 | 0.42783 | 432.1806 | 4321.8057 | 4.3218 | 194.4813 | KO DMSO
KO ZM | 0.606 | 0.4933 | 500.5409 | 5005.4087 | 5.0054 | 225.2434 | KO ZM |  | KO ZM | 0.61433 | 0.50163 | 509.2425 | 5092.4253 | 5.0924 | 229.1591 | KO ZM
KO STS+WEHI | 0.23153 | 0.11883 | 109.5228 | 1095.2277 | 1.0952 | 49.2852 | KO STS+WEHI |  | KO STS+WEHI | 0.23357 | 0.12087 | 111.646 | 1116.4598 | 1.1165 | 50.2407 | KO STS+WEHI
BLANK | 0.20573 |  |  |  |  | after one week (measuremetn of the BCA plate, no changes):
A549 | Mean | w/o blanc | ug/mL | x10 (dil) | ug/uL | ugr totale
par DMSO | 1.069 | 0.86327 | 886.8601 | 8868.6006 | 8.8686 | 399.087 | par DMSO
par ZM | 1.3439 | 1.1381 | 1173.8758 | 11738.7583 | 11.7388 | 528.2441 | par ZM
par STS+WEHI | 0.78487 | 0.57913 | 590.168 | 5901.6804 | 5.9017 | 265.5756 | par STS+WEHI
KO DMSO | 1.1331 | 0.9274 | 953.8281 | 9538.2808 | 9.5383 | 429.2226 | KO DMSO
KO ZM | 1.3665 | 1.1608 | 1197.5095 | 11975.0954 | 11.9751 | 538.8793 | KO ZM
KO STS+WEHI | 0.4909 | 0.28517 | 283.208 | 2832.0804 | 2.8321 | 127.4436 | KO STS+WEHI

## 1_C2_BCA_Plate_Read_Out
Application: Tecan i-control |  |  |  | Tecan i-control , 1.11.1.0
Device: infinite 200Pro |  |  |  | Serial number: 1206001022 |  |  |  | Serial number of connected stacker:
Firmware: V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) |  |  |  | MAI, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)
Date: | 28/06/2019
Time: | 12:48:37
System |  |  |  | POVO-8L526Y1-PC
User |  |  |  | Povo-8L526Y1-PC\Povo-8L526Y1
Plate |  |  |  | eppendorf 96 Flat Bottom transparent Polystyrol [eppendorf 96 flat transparent.pdfx]
Plate-ID (Stacker)
List of actions in this measurement script:
Kinetic
Absorbance
Label: Label1
Kinetic Measurement
Kinetic Cycles |  |  |  | 3
Interval Time |  |  |  | 0:00
Mode |  |  |  | Absorbance
Wavelength |  |  |  | 562 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10
Settle Time |  |  |  | 0 | ms
Part of Plate |  |  |  | A11-A12; B8-B12
Start Time: | 28/06/2019 12:48:38 | [5 empty] | Start Time: | 28/06/2019 12:51:44
[7 empty] | second measurement | [5 empty] | after one week meaasurement (of the same wells in the BCA plate)
Cycle Nr. | 1 | 2 | 3 | Used for finale presentation |  | Cycle Nr. | 1 | 2 | 3 |  |  | Cycle Nr. | 1 | 2 | 3
Time [s] | 0 | 20 | 40 |  |  | Time [s] | 0 | 20 | 40 |  |  | Time [s] | 0 | 20 | 40
Temp. [°C] | 31.5 | 31.5 | 31.7 | Average: |  | Temp. [°C] | 31.8 | 31.6 | 31.6 |  | Average: | Temp. [°C] | 29.3 | 29.3 | 29.4 | Average
A11 | 0.1125 | 0.1129 | 0.1127 | 0.1127 | blank | A11 | 0.1132 | 0.1133 | 0.1134 | blank | 0.113 | A11 | 0.2057 | 0.2057 | 0.2058 | 0.20573 | blank
A12 | 0.5895 | 0.5883 | 0.589 | 0.58893 | par DMSO | A12 | 0.596 | 0.5959 | 0.5967 | par DMSO | 0.59257 | A12 | 1.0698 | 1.0685 | 1.0687 | 1.069 | par DMSO
B8 | 0.6306 | 0.6375 | 0.6449 | 0.63767 | par ZM | B8 | 0.6586 | 0.6588 | 0.661 | par ZM | 0.64857 | B8 | 1.3391 | 1.3475 | 1.345 | 1.3439 | par ZM
B9 | 0.3637 | 0.3655 | 0.3664 | 0.3652 | par STS+WEHI | B9 | 0.3731 | 0.3738 | 0.3749 | par STS+WEHI | 0.36957 | B9 | 0.7849 | 0.785 | 0.7847 | 0.78487 | par STS+WEHI
B10 | 0.5261 | 0.534 | 0.5388 | 0.53297 | KO DMSO | B10 | 0.5468 | 0.5482 | 0.5493 | KO DMSO | 0.54053 | B10 | 1.1312 | 1.1343 | 1.1339 | 1.1331 | KO DMSO
B11 | 0.5991 | 0.6068 | 0.6121 | 0.606 | KO ZM | B11 | 0.6216 | 0.6224 | 0.624 | KO ZM | 0.61433 | B11 | 1.3643 | 1.3669 | 1.3683 | 1.3665 | KO ZM
B12 | 0.2311 | 0.2316 | 0.2319 | 0.23153 | KO STS+WEHI | B12 | 0.235 | 0.2356 | 0.2362 | KO STS+WEHI | 0.23357 | B12 | 0.4904 | 0.4916 | 0.4907 | 0.4909 | KO STS+WEHI
End Time: | 28/06/2019 12:49:26
Note on E1: Tecan.At.Common, 3.7.3.0 Tecan.At.Common.DocumentManagement, 3.7.3.0 Tecan.At.Common.DocumentManagement.Reader, 3.4.4.0 Tecan.At.Common.MCS, 3.7.3.0 Tecan.At.Common.Results, 3.7.3.0 Tecan.At.Common.UI, 3.7.3.0 Tecan.At.Communication.Common, 3.7.4.0 Tecan.At.Communication.Port.IP, 3.7.4.0 Tecan.At.Communication.Port.RS232, 3.7.4.0 Tecan.At.Communication.Port.SIM.Common, 3.7.4.0 Tecan.At.Communication.Port.USB, 3.7.4.0 Tecan.At.Communication.Server, 3.7.4.0 Tecan.At.Communication.SIM.AMR, 3.4.4.0 Tecan.At.Communication.SIM.AMRPlus, 3.4.4.0 Tecan.At.Communication.SIM.Connect, 3.7.4.0 Tecan.At.Communication.SIM.GeniosUltra, 3.4.4.0 Tecan.At.Communication.SIM.Safire3, 3.4.4.0 Tecan.At.Communication.SIM.Safire3Pro, 3.4.4.0 Tecan.At.Communication.SIM.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Common, 3.7.4.0 Tecan.At.Instrument.Common.GCM, 3.6.5.0 Tecan.At.Instrument.Common.Reader, 3.4.4.0 Tecan.At.Instrument.Common.Stacker, 3.7.4.0 Tecan.At.Instrument.Gas.GCM, 3.6.5.0 Tecan.At.Instrument.GCM.Server, 3.6.5.0 Tecan.At.Instrument.Reader.AMR, 3.4.4.0 Tecan.At.Instrument.Reader.AMRPlus, 3.4.4.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.4.4.0 Tecan.At.Instrument.Reader.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Server, 3.7.4.0 Tecan.At.Instrument.Stacker.Connect, 3.7.4.0 Tecan.At.Instrument.Stacker.Server, 3.7.4.0 Tecan.At.Measurement.BuiltInTest.Common, 3.4.4.0 Tecan.At.Measurement.Common, 3.4.4.0 Tecan.At.Measurement.Server, 3.4.4.0 Tecan.At.XFluor, 1.11.1.0 Tecan.At.XFluor.Connect.Reader, 1.11.1.0 Tecan.At.XFluor.Core, 1.11.1.0 Tecan.At.XFluor.Device, 1.11.1.0 Tecan.At.XFluor.Device.AMR, 1.11.1.0 Tecan.At.XFluor.Device.AMRPlus, 1.11.1.0 Tecan.At.XFluor.Device.GeniosUltra, 1.11.1.0 Tecan.At.XFluor.Device.Reader, 1.11.1.0 Tecan.At.XFluor.Device.Safire3, 1.11.1.0 Tecan.At.XFluor.Device.Safire3Pro, 1.11.1.0 Tecan.At.XFluor.Device.SunriseMini, 1.11.1.0 Tecan.At.XFluor.ExcelOutput, 1.11.1.0 Tecan.At.XFluor.NanoQuant, 1.11.1.0 Tecan.At.XFluor.ReaderEditor, 1.11.1.0
Note on E3: EHC, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) MTP, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) LUM, V_2.00_04/06_LUMINESCENCE (Apr 5 2006/08.57.29) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)

## 1_C3_Finale Results
BCA C-3
ugr totale |  |  |  | All samples were centrifuged.
205.8369 | Par DMSO |  |  | A549, cell pellet p126; KO126
234.187 | Par ZM
93.6664 | Par STS+WEHI
201.1928 | C-2 KO DMSO
193.6433 | C-2 KO ZM
46.5364 | C-2 KO STS+WEHI
Fluorescent Assay C-3
Sample: |  | Mean Value of fluorecsence: | Normalized mean values to untreated cells:
Par DMSO |  | 1303.8333 | 1
Par ZM |  | 2148.6667 | 1.648
Par STS+WEHI |  | 43240 | 33.1637
C-2 KO DMSO |  | 1012.5 | 1
C-2 KO ZM |  | 1268.3333 | 1.2527
C-2 KO STS+WEHI |  | 33094.8333 | 32.6863
|  | table 1 | table 2
Fluorescence C- 2 Normalized to BCA |  | Normalized to BCA | Normalized (to BCA) to Untreated cells
Sample:
Par DMSO |  | 6.3343 | 1
Par ZM |  | 9.175 | 1.4485
Par STS+WEHI |  | 461.6385 | 72.8791
C-2 KO DMSO |  | 5.0325 | 1
C-2 KO ZM |  | 6.5498 | 1.3015
C-2 KO STS+WEHI |  | 711.1603 | 141.314
table 3

## 1_C3_Fluorescenc_Plate_Read_Out
Application: Tecan i-control |  |  |  | Tecan i-control , 1.11.1.0
Device: infinite 200Pro |  |  |  | Serial number: 1206001022 |  |  |  | Serial number of connected stacker:
Firmware: V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) |  |  |  | MAI, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)
Date: | 27/06/2019
Time: | 18:21:36
System |  |  |  | POVO-8L526Y1-PC
User |  |  |  | Povo-8L526Y1-PC\Povo-8L526Y1
Plate |  |  |  | Greiner 96 Flat Bottom Black Polystyrene Cat. No.: 655079/655086/655077/655076 [GRE96fb_chimney.pdfx]
Plate-ID (Stacker)
List of actions in this measurement script:
Kinetic
Fluorescence
Label: Caspase-3 / AFC
Kinetic Measurement
Kinetic Cycles |  |  |  | 3
Interval Time |  |  |  | 0:00
Mode |  |  |  | Fluorescence Top Reading
Excitation Wavelength |  |  |  | 400 | nm
Emission Wavelength |  |  |  | 505 | nm
Excitation Bandwidth |  |  |  | 9 | nm
Emission Bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 91 | Optimal (100%)
Number of Flashes |  |  |  | 25
Integration Time |  |  |  | 20 | µs
Lag Time |  |  |  | 0 | µs
Settle Time |  |  |  | 0 | ms
Z-Position (Calculated From: C1) |  |  |  | 15535 | µm
Part of Plate |  |  |  | C1-C6
Start Time: | 27/06/2019 18:23:21
Cycle Nr. | 1 | 2 | 3 |  | Cycle Nr. | 1 | 2 | 3 |  |  | Uses for finale presentation:
Time [s] | 0 | 20 | 40 |  | Time [s] | 0 | 20 | 40
Temp. [°C] | 33.1 | 33.1 | 33 |  | Temp. [°C] | 33 | 32.8 | 33.1 |  | Average:
C1 | 1294 | 1301 | 1308 |  | C1 | 1302 | 1312 | 1306 | Par DMSO | 1303.8333 | 1301 | Par DMSO
C2 | 2139 | 2139 | 2154 |  | C2 | 2135 | 2165 | 2160 | Par ZM | 2148.6667 | 2144 | Par ZM
C3 | 43129 | 43082 | 43215 |  | C3 | 43244 | 43404 | 43366 | Par STS+WEHI | 43240 | 43142 | Par STS+WEHI
C4 | 992 | 991 | 997 |  | C4 | 1025 | 1037 | 1033 | C-2 KO DMSO | 1012.5 | 993.3333 | C-2 KO DMSO
C5 | 1260 | 1261 | 1275 |  | C5 | 1280 | 1270 | 1264 | C-2 KO ZM | 1268.3333 | 1265.3333 | C-2 KO ZM
C6 | 32939 | 32892 | 32983 |  | C6 | 33228 | 33228 | 33299 | C-2 KO STS+WEHI | 33094.8333 | 32938 | C-2 KO STS+WEHI
End Time: | 27/06/2019 18:24:07
Note on E1: Tecan.At.Common, 3.7.3.0 Tecan.At.Common.DocumentManagement, 3.7.3.0 Tecan.At.Common.DocumentManagement.Reader, 3.4.4.0 Tecan.At.Common.MCS, 3.7.3.0 Tecan.At.Common.Results, 3.7.3.0 Tecan.At.Common.UI, 3.7.3.0 Tecan.At.Communication.Common, 3.7.4.0 Tecan.At.Communication.Port.IP, 3.7.4.0 Tecan.At.Communication.Port.RS232, 3.7.4.0 Tecan.At.Communication.Port.SIM.Common, 3.7.4.0 Tecan.At.Communication.Port.USB, 3.7.4.0 Tecan.At.Communication.Server, 3.7.4.0 Tecan.At.Communication.SIM.AMR, 3.4.4.0 Tecan.At.Communication.SIM.AMRPlus, 3.4.4.0 Tecan.At.Communication.SIM.Connect, 3.7.4.0 Tecan.At.Communication.SIM.GeniosUltra, 3.4.4.0 Tecan.At.Communication.SIM.Safire3, 3.4.4.0 Tecan.At.Communication.SIM.Safire3Pro, 3.4.4.0 Tecan.At.Communication.SIM.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Common, 3.7.4.0 Tecan.At.Instrument.Common.GCM, 3.6.5.0 Tecan.At.Instrument.Common.Reader, 3.4.4.0 Tecan.At.Instrument.Common.Stacker, 3.7.4.0 Tecan.At.Instrument.Gas.GCM, 3.6.5.0 Tecan.At.Instrument.GCM.Server, 3.6.5.0 Tecan.At.Instrument.Reader.AMR, 3.4.4.0 Tecan.At.Instrument.Reader.AMRPlus, 3.4.4.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.4.4.0 Tecan.At.Instrument.Reader.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Server, 3.7.4.0 Tecan.At.Instrument.Stacker.Connect, 3.7.4.0 Tecan.At.Instrument.Stacker.Server, 3.7.4.0 Tecan.At.Measurement.BuiltInTest.Common, 3.4.4.0 Tecan.At.Measurement.Common, 3.4.4.0 Tecan.At.Measurement.Server, 3.4.4.0 Tecan.At.XFluor, 1.11.1.0 Tecan.At.XFluor.Connect.Reader, 1.11.1.0 Tecan.At.XFluor.Core, 1.11.1.0 Tecan.At.XFluor.Device, 1.11.1.0 Tecan.At.XFluor.Device.AMR, 1.11.1.0 Tecan.At.XFluor.Device.AMRPlus, 1.11.1.0 Tecan.At.XFluor.Device.GeniosUltra, 1.11.1.0 Tecan.At.XFluor.Device.Reader, 1.11.1.0 Tecan.At.XFluor.Device.Safire3, 1.11.1.0 Tecan.At.XFluor.Device.Safire3Pro, 1.11.1.0 Tecan.At.XFluor.Device.SunriseMini, 1.11.1.0 Tecan.At.XFluor.ExcelOutput, 1.11.1.0 Tecan.At.XFluor.NanoQuant, 1.11.1.0 Tecan.At.XFluor.ReaderEditor, 1.11.1.0
Note on E3: EHC, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) MTP, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) LUM, V_2.00_04/06_LUMINESCENCE (Apr 5 2006/08.57.29) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)

## 1_C3_BCA calculations
BLANK | 0.0898
A549 | Mean | w/o blanc | ug/mL | x10 (dil) | ug/uL | ugr totale
Par DMSO | 0.53267 | 0.44287 | 447.8784 | 4478.7837 | 4.4788 | 201.5453 | Par DMSO
Par ZM | 0.59277 | 0.50297 | 510.6348 | 5106.3479 | 5.1063 | 229.7857 | Par ZM
Par STS+WEHI | 0.29917 | 0.20937 | 204.0577 | 2040.5767 | 2.0406 | 91.8259 | Par STS+WEHI
C-2 KO DMSO | 0.52327 | 0.43347 | 438.0629 | 4380.629 | 4.3806 | 197.1283 | C-2 KO DMSO
C-2 KO ZM | 0.50813 | 0.41833 | 422.2607 | 4222.6069 | 4.2226 | 190.0173 | C-2 KO ZM
C-2 KO STS+WEHI | 0.20037 | 0.11057 | 100.8907 | 1008.9071 | 1.0089 | 45.4008 | C-2 KO STS+WEHI

## 1_C3_BCA_Plate_Read_Out
Application: Tecan i-control |  |  |  | Tecan i-control , 1.11.1.0
Device: infinite 200Pro |  |  |  | Serial number: 1206001022 |  |  |  | Serial number of connected stacker:
Firmware: V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) |  |  |  | MAI, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)
Date: | 27/06/2019
Time: | 17:46:30
System |  |  |  | POVO-8L526Y1-PC
User |  |  |  | Povo-8L526Y1-PC\Povo-8L526Y1
Plate |  |  |  | eppendorf 96 Flat Bottom transparent Polystyrol [eppendorf 96 flat transparent.pdfx]
Plate-ID (Stacker)
List of actions in this measurement script:
Kinetic
Absorbance
Label: Label1
Kinetic Measurement
Kinetic Cycles |  |  |  | 3
Interval Time |  |  |  | 0:00
Mode |  |  |  | Absorbance
Wavelength |  |  |  | 562 | nm
Bandwidth |  |  |  | 9 | nm
Number of Flashes |  |  |  | 10 | [5 empty] | C2 | Bio Repl 1
Settle Time |  |  |  | 0 | ms |  |  |  |  | C2 | Bio Repl 2
Part of Plate |  |  |  | B1-B7 | [5 empty] | C2 | Bio repl 3
Start Time: | 27/06/2019 17:46:30
[6 empty] | Start Time: | 27/06/2019 17:49:08 |  |  | C3 | Bio Repl 1
[10 empty] | C3 | Bio Repl 2
Cycle Nr. | 1 | 2 | 3 | Cycle Nr. | 1 | 2 | 3 |  |  | C3 | Bio repl 3
Time [s] | 0 | 20 | 40 | Time [s] | 0 | 20 | 40 |  | Uses for finale presentation:
Temp. [°C] | 32.8 | 32.9 | 32.8 | Temp. [°C] | 32.9 | 32.8 | 32.8 |  | Average:
B1 | 0.528 | 0.5323 | 0.5377 | B1 | 0.5506 | 0.5523 | 0.5541 | Par DMSO | 0.53267
B2 | 0.588 | 0.5923 | 0.598 | B2 | 0.6105 | 0.6128 | 0.6154 | Par ZM | 0.59277
B3 | 0.2967 | 0.2993 | 0.3015 | B3 | 0.3066 | 0.3086 | 0.31 | Par STS+WEHI | 0.29917
B4 | 0.5189 | 0.5231 | 0.5278 | B4 | 0.5383 | 0.5419 | 0.5457 | C-2 KO DMSO | 0.52327
B5 | 0.5036 | 0.5088 | 0.512 | B5 | 0.5219 | 0.5252 | 0.5278 | C-2 KO ZM | 0.50813
B6 | 0.1982 | 0.2007 | 0.2022 | B6 | 0.2056 | 0.2066 | 0.2076 | C-2 KO STS+WEHI | 0.20037
B7 | 0.0892 | 0.0899 | 0.0903 | B7 | 0.0905 | 0.0913 | 0.0918 | Blank | 0.0898
End Time: | 27/06/2019 17:47:17
Note on E1: Tecan.At.Common, 3.7.3.0 Tecan.At.Common.DocumentManagement, 3.7.3.0 Tecan.At.Common.DocumentManagement.Reader, 3.4.4.0 Tecan.At.Common.MCS, 3.7.3.0 Tecan.At.Common.Results, 3.7.3.0 Tecan.At.Common.UI, 3.7.3.0 Tecan.At.Communication.Common, 3.7.4.0 Tecan.At.Communication.Port.IP, 3.7.4.0 Tecan.At.Communication.Port.RS232, 3.7.4.0 Tecan.At.Communication.Port.SIM.Common, 3.7.4.0 Tecan.At.Communication.Port.USB, 3.7.4.0 Tecan.At.Communication.Server, 3.7.4.0 Tecan.At.Communication.SIM.AMR, 3.4.4.0 Tecan.At.Communication.SIM.AMRPlus, 3.4.4.0 Tecan.At.Communication.SIM.Connect, 3.7.4.0 Tecan.At.Communication.SIM.GeniosUltra, 3.4.4.0 Tecan.At.Communication.SIM.Safire3, 3.4.4.0 Tecan.At.Communication.SIM.Safire3Pro, 3.4.4.0 Tecan.At.Communication.SIM.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Common, 3.7.4.0 Tecan.At.Instrument.Common.GCM, 3.6.5.0 Tecan.At.Instrument.Common.Reader, 3.4.4.0 Tecan.At.Instrument.Common.Stacker, 3.7.4.0 Tecan.At.Instrument.Gas.GCM, 3.6.5.0 Tecan.At.Instrument.GCM.Server, 3.6.5.0 Tecan.At.Instrument.Reader.AMR, 3.4.4.0 Tecan.At.Instrument.Reader.AMRPlus, 3.4.4.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3, 3.4.4.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.4.4.0 Tecan.At.Instrument.Reader.SunriseMini, 3.4.4.0 Tecan.At.Instrument.Server, 3.7.4.0 Tecan.At.Instrument.Stacker.Connect, 3.7.4.0 Tecan.At.Instrument.Stacker.Server, 3.7.4.0 Tecan.At.Measurement.BuiltInTest.Common, 3.4.4.0 Tecan.At.Measurement.Common, 3.4.4.0 Tecan.At.Measurement.Server, 3.4.4.0 Tecan.At.XFluor, 1.11.1.0 Tecan.At.XFluor.Connect.Reader, 1.11.1.0 Tecan.At.XFluor.Core, 1.11.1.0 Tecan.At.XFluor.Device, 1.11.1.0 Tecan.At.XFluor.Device.AMR, 1.11.1.0 Tecan.At.XFluor.Device.AMRPlus, 1.11.1.0 Tecan.At.XFluor.Device.GeniosUltra, 1.11.1.0 Tecan.At.XFluor.Device.Reader, 1.11.1.0 Tecan.At.XFluor.Device.Safire3, 1.11.1.0 Tecan.At.XFluor.Device.Safire3Pro, 1.11.1.0 Tecan.At.XFluor.Device.SunriseMini, 1.11.1.0 Tecan.At.XFluor.ExcelOutput, 1.11.1.0 Tecan.At.XFluor.NanoQuant, 1.11.1.0 Tecan.At.XFluor.ReaderEditor, 1.11.1.0
Note on E3: EHC, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) MTP, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) LUM, V_2.00_04/06_LUMINESCENCE (Apr 5 2006/08.57.29) MEM, V_2.14_01/11_MCR (Mar 3 2011/09.03.17) MEX, V_2.14_01/11_MCR (Mar 3 2011/09.02.39) ZSCAN, V_3.23_12/10_Infinite (Jul 11 2011/07.06.35)